|  | Medical Devices ## Technical File |  |
| --- | --- | --- |

# Table of Contents

- Manufacturer Information (Name, Address, Telephone…)

- MDD Agreement

- EC Decarlarion of Conformity

- Product Description (including Product group/ planned variations)

- Classification (according 93/42/EEC MDD Annex 9)

- Product Specification

(e.g. a general description of the device(s), a description of the intended use and operation of the device(s), description of the accessories, adaptors and other devices or equipment and other interfaces which are intended by the manufacturer to be used in combination with the device(s), etc..)

- Technical Documents (drawings, production plans including production flowchart, component lists, labeling, Users manual / Instruction for Use, Sterile condition and method used, packaging materail evaluation, production environmental control program, biocompatibility evaluation)

- Certificate of Conformity (purchased product /raw material)

- Test Reports (testing laboratories, reports)

- Essential Requirements  (93/42/EEC MDD Annex 1)

- Risk Analysis

- The results of the design calculations and of the inspections carried out

- Applicable standards	(harmonized standards, international standards, partly applicable standards)

- Clinical data including Literary study (Journal, Books, Internet, Magazines) and/ or Clinical Investigation (93/42/EEC MDD Annex 10)

- Translation procedure (language control for labeling)

- Vigilance system

医 疗 器 械 技 术 文 档

- 生产者信息（名称、地址、电话等）

- 生产者与欧洲授权代表签定的合约

- 符合声明

- 产品描述（描述, 预期用途等, 包括产品组/计划的产品变化）

- 分类（按照MDD 93/42/EEC 附录九）

- 产品规格，参数

- 技术文件

(图纸、生产策划(生产流程图等)、组件清单、标签、说明书、灭菌情况和方法、       包装材料和评估、生产环境的控制程序，生物相容性评估。)

- 采购的产品/材料的符合性证明

- 测试报告（测试实验室，报告）

- 基本要求（MDD 93/42/EEC 附录一）

- 风险分析

- 设计计算的结果和检查执行的结果

- 所适用的标准（协调化标准，国际标准，部分适用标准）

- 临床数据包括文献研究（期刊、书刊、网络、杂志）和/或临床调查（MDD 93/42/EEC 附录十）

- 翻译程序(标记包括标签和说明书的语言控制程序)

- 警戒系统